## Summary
COST-EFFECTIVENESS SUMMARY
Input Values Used in Cost Analysis
Input value for each Model GDF
Input variable used in Cost Analysis |  |  | 1 | 2 | 3 | 4 | 5
Nominal Monthly Average Sales per GDF, gals/month-GDF (EPA, 1991) |  |  | 13233.0508 | 37500 | 75000 | 150000 | 300000
Population Distribution (EPA, 1991 adjusted to fit current pop-wtd average) |  |  | 4.72% | 14.1% | 45.65% | 31.3% | 4.224%
Estimated Number of GDFs (11,250 total) |  |  | 531 | 1586.25 | 5135.85 | 3521.7 | 475.2
Total Annual Sales, million gals/yr |  |  | 84.321 | 714.4244 | 4626.2272 | 6344.4938 | 1712.1864
Number of Processors per GDF (when applicable) |  |  | 1 | 1 | 1 | 1 | 1
Number of Drop Tubes & Spill Buckets per GDF |  |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Wtd-Avg Number of Nozzles per GDF (EPA, 1991) |  |  | 2.5 | 3.25 | 6.5 | 9.75 | 16.25
Number of Dispensers per GDF (EPA, 1991) |  |  | 2 | 3 | 6 | 9 | 12
Est. population-wtd average gallons per month using population above |  |  | 99779.1 |  | Total 1997 CA gasoline sales = | 13481725000 | gals
Actual population-wtd average gallons per month |  |  | 99865 |  | Total GDFs in CA in 1998 = | 11250
Emission Reductions per Model GDF
|  | 2010 | Emission Reductions
|  | ROG Reductions | by Model GDF and Module, tons/day
Module | Description | Statewide, tons/day | 1 | 2 | 3 | 4 | 5
1 | Phase I | 5 | 0.031273 | 0.26496 | 1.7157 | 2.353 | 0.63501
2 | Phase II | 3.1 | 0.019389 | 0.16428 | 1.0638 | 1.4589 | 0.3937
3 | ORVR Compatibility | 6.3 | 0.039403 | 0.33385 | 2.1618 | 2.9648 | 0.80011
4 | Liquid Retention | 0.2 | 0.0012509 | 0.010598 | 0.06863 | 0.09412 | 0.0254
5 | Spillage/Dripless Nozzle | 3.9 | 0.024393 | 0.20667 | 1.3383 | 1.8353 | 0.4953
6 | In-Station Diagnostics | 6.6 | 0.04128 | 0.34975 | 2.2648 | 3.106 | 0.83821
| Total | 25.1 | 0.15699 | 1.3301 | 8.6131 | 11.8121 | 3.1877
Cost-Effectiveness (C.E.) & Impacts to GDFs and Consumers
|  |  | Cost-Effectiveness by Model GDF and Module |  |  |  |  | Overall
|  |  | 1999 Dollars per Pound ROG Reduced |  |  |  |  | Cost-Effectiveness
Module | Description |  | 1 | 2 | 3 | 4 | 5 | by Module only
1 | Phase I C.E. (Annual Costs/Annual Reductions) |  | 5.3126 | 1.719 | 0.74043 | 0.25117 | 0.0065365 | 0.49743
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 76962.7448 | 229909.8944 | 744386.2765 | 510432.5769 | 68875.1343
| Annualized R&D Costs (assume 5% of Total R&D) |  | 29649.5179 | 88571.6529 | 286771.1418 | 196641.6328 | 26533.8058
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 20103.7739 | 60055.7652 | 194444.3824 | 133332.3172 | 17991.1739
| Annual Gasoline Recovery Credit |  | -5435.4585 | -46052.87 | -298213.5633 | -408975.6149 | -110370.1123
2 | Phase II C.E. (Annual Costs/Annual Reductions) |  | 54.2999 | 19.5459 | 10.8566 | 5.9106 | 3.4375 | 8.3189
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 274394.6656 | 886260.1867 | 3803379.1846 | 3248401.4708 | 611144.0934
| Annualized R&D Costs (assume 50% of Total R&D) |  | 296495.1785 | 885716.5291 | 2867711.4175 | 1966416.3282 | 265338.0581
| Annualized Cert & Testing (assume 50% of Total Cert) |  | 201037.7387 | 600557.6516 | 1944443.8235 | 1333323.1721 | 179911.739
| Annual Gasoline Recovery Credit |  | -3369.9843 | -28552.7794 | -184892.4093 | -253564.8812 | -68429.4696
3 | ORVR Compatibility (Annual Costs/Annual Reductions) |  | 4.0283 | 1.3804 | 0.77054 | 0.36592 | 0.13653 | 0.5523
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 23213.8159 | 97188.0724 | 629337.5717 | 647313.9187 | 129762.7171
| Annualized R&D Costs (assume 10% of Total R&D) |  | 59299.0357 | 177143.3058 | 573542.2835 | 393283.2656 | 53067.6116
| Annualized Cert & Testing (assume 10% of Total Cert) |  | 40207.5477 | 120111.5303 | 388888.7647 | 266664.6344 | 35982.3478
| Annual Gasoline Recovery Credit |  | -6848.6777 | -58026.6162 | -375749.0898 | -515309.2748 | -139066.3415
4 | Liquid Retention (Annual Costs/Annual Reductions) |  | 62.1464 | 22.593 | 12.9878 | 7.2801 | 4.4262 | 10.0309
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 7213.573 | 28013.7272 | 181401.7977 | 186583.3439 | 41960.9871
| Annualized R&D Costs (assume 5% of Total R&D) |  | 29649.5179 | 88571.6529 | 286771.1418 | 196641.6328 | 26533.8058
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 20103.7739 | 60055.7652 | 194444.3824 | 133332.3172 | 17991.1739
| Annual Gasoline Recovery Credit |  | -217.4183 | -1842.1148 | -11928.5425 | -16359.0246 | -4414.8045
5 | Spillage/Dripless Nozzle (Annual Costs/Annual Reductions) |  | 2.9611 | 0.93273 | 0.44016 | 0.14745 | 0.0010988 | 0.28852
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 7213.573 | 28013.7272 | 181401.7977 | 186583.3439 | 41960.9871
| Annualized R&D Costs (assume 5% of Total R&D) |  | 29649.5179 | 88571.6529 | 286771.1418 | 196641.6328 | 26533.8058
| Annualized Cert & Testing (assume 5% of Total Cert) |  | 20103.7739 | 60055.7652 | 194444.3824 | 133332.3172 | 17991.1739
| Annual Gasoline Recovery Credit |  | -4239.6577 | -35921.2386 | -232606.5794 | -319000.9796 | -86088.6876
6 | In-Station Diagnostics (Annual Costs/Annual Reductions) |  | 10.4874 | 3.7672 | 2.1001 | 1.0988 | 0.51424 | 1.5683
| Annualized Equip Costs (assumes 25%/yr conversion) |  | 74436.3361 | 279479.5516 | 1459665.57 | 1381328.2039 | 237721.466
| Annualized R&D Costs (assume 25% of Total R&D) |  | 148247.5893 | 442858.2646 | 1433855.7088 | 983208.1641 | 132669.029
| Annualized Cert & Testing (assume 25% of Total Cert) |  | 100518.8693 | 300278.8258 | 972221.9118 | 666661.586 | 89955.8695
| Annual Gasoline Recovery Credit |  | -7174.8053 | -60789.7884 | -393641.9036 | -539847.8117 | -145688.5482
| Total Annual Costs by Model GDF Category |  | 1431214.541 | 4290228.1135 | 15126850.5925 | 10707064.2717 | 1467867.0156 | 33023224.5343
| Total Annual Costs per each GDF in a Model GDF Category |  | 2695.3193 | 2704.6355 | 2945.3451 | 3040.3113 | 3088.9457 | overall annual cost
| Per-gallon cost increase for consumers, cents/gallon |  | 1.6973 | 0.60052 | 0.32698 | 0.16876 | 0.085731 | 0.24495
| Non-Wtd Cost-Effectiveness for All Modules by Model GDF |  | 12.4887 | 4.4185 | 2.4058 | 1.2417 | 0.63079 | avg. per-gal increase
| Notes: | [6 empty] | (cents per gallon)
| Gasoline price/gal assumed = | 1.5
Per-gallon increase for consumers assumes all costs passed on to consumers
| Gasoline density, lb/gal = | 6.3

## PerGalCostbyGDF
Per-Gallon Cost Increase by Module and Model GDF
Per-Gallon Cost Increase
by Module and Model GDF, cents per gallon
| Model GDF | 1 | 2 | 3 | 4 | 5
Module | Per-GDF Throughput, gals/mo | 13233.0508 | 37500 | 75000 | 150000 | 300000
1 | Phase I | 0.14383 | 0.046539 | 0.020046 | 0.0068001 | 0.00017697
2 | Phase II | 0.91147 | 0.32809 | 0.18224 | 0.099213 | 0.057702
3 | ORVR Compatibility | 0.13742 | 0.047089 | 0.026285 | 0.012483 | 0.0046576
4 | Liquid Retention | 0.067302 | 0.024467 | 0.014065 | 0.007884 | 0.0047934
5 | Spillage/Dripless Nozzle | 0.062532 | 0.019697 | 0.0092951 | 0.0031138 | 2.3203e-05
6 | In-Station Diagnostics | 0.37479 | 0.13463 | 0.075053 | 0.039268 | 0.018378
Total Cents per Gal Increase by Model GDF |  | 1.6973 | 0.60052 | 0.32698 | 0.16876 | 0.085731

## PerGalCostbyModule
Per-Gallon Cost Increase by Module
Module | Description | Annual Costs, $Million/yr | Cents per Gallon
1 | Phase I | 1.8156 | 0.013467
2 | Phase II | 18.8257 | 0.13964
3 | ORVR | 2.54 | 0.01884
4 | Liq. Ret. | 1.4645 | 0.010863
5 | Spillage | 0.82141 | 0.0060928
6 | ISD | 7.556 | 0.056046
| Total | 33.0232 | 0.24495

## Model GDF 1
Estimated Equipment Costs for a Model GDF 1 Facility per Proposed Module
| Unit Cost | Number of Components in Model GDF
Proposed Module | 1999 Dollars | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I)
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 178 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Module 1 -- Total Fixed Cost (All Equipment) |  | 2822.5 | 2822.5 | 2822.5 | 2822.5 | 2822.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  | 579.757 | 579.757 | 579.757 | 579.757 | 579.757
|  | Avg Fixed | 2822.5 | Avg Annual |  | 579.757
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 | 2.5 | 2.5
Nozzle -- Hybrid | 231.25 |  |  | 2.5
Nozzle -- Assist Type 1 | 208.83 |  |  |  | 2.5
Nozzle -- Assist Type 2 | 224.78 |  |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Balance | 381.82 | 2.5 | 2.5
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 |  |  |  |  | 2.5
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  | 1
Assist Type 2 | 9000 |  |  |  |  | 1
Vapor processor
for those Balance systems that use processors | 7500 | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 2.5 | 2.5
Nozzle -- Hybrid | 107.56 |  |  | 2.5
Nozzle -- Assist Type 1 | 48.4 |  |  |  | 2.5
Nozzle -- Assist Type 2 | 53.78 |  |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 2.5 | 2.5
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 |  |  |  | 2.5
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 |  |  |  |  | 2.5
Auxilliary Items -- Assist Type 1 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  | 11105.85 | 11105.85 | 11560.5 | 10891.13 | 11807.195
Module 2 -- Total Fixed Cost (TFC Nozzles) |  | 715.1 | 715.1 | 847.025 | 643.075 | 696.4
Module 2 -- Total Fixed Cost (TFC Dispensers) |  | 1384.75 | 1384.75 | 1707.475 | 1242.275 | 820.125
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  | 287.5523 | 287.5523 | 340.6013 | 258.59 | 280.0327
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  | 284.4353 | 284.4353 | 350.7248 | 255.1701 | 168.4582
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  | 2037.6726 | 2037.6726 | 2157.0111 | 1979.4093 | 2123.2501
|  | Avg Fixed | 11294.105 | Avg Annual |  | 2067.0031
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  | 2.5 | 2.5
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 | 2 | 2 | 2
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  | 2.5 | 2.5
Dispenser sensor & related electronics | 160 | 2 | 2 | 2
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 720 | 720 | 720 | 535.5031 | 535.5031
Module 3 -- Total Fixed Costs (Nozzles) |  | 0 | 0 | 0 | 535.5031 | 535.5031
Module 3 -- Total Fixed Costs (Dispensers) |  | 720 | 720 | 720 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  | 0 | 0 | 0 | 215.3337 | 215.3337
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  | 147.892 | 147.892 | 147.892 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  | 147.892 | 147.892 | 147.892 | 215.3337 | 215.3337
|  | Avg Fixed | 646.2013 | Avg Annual |  | 174.8687
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 135.1344 | 135.1344 | 135.1344 | 135.1344 | 135.1344
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  | 54.3395 | 54.3395 | 54.3395 | 54.3395 | 54.3395
|  | Avg Fixed | 135.1344 | Avg Annual |  | 54.3395
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  | 135.1344 | 135.1344 | 135.1344 | 135.1344 | 135.1344
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  | 54.3395 | 54.3395 | 54.3395 | 54.3395 | 54.3395
|  | Avg Fixed | 135.1344 | Avg Annual |  | 54.3395
Module 6 (In-Station Diagnostics)
Components
Sensors -- Pressure | 191.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Sensors -- A/L | 245 | 2 | 2 | 2 | 2 | 2
Datalogger w/EPROM & new CPU/motherboard | 1196.6667 | 1 | 1 | 1 | 1 | 1
Installation Costs
Assumed 2 person-days/dispenser for ISD installation | 1280 | 1 | 1 | 1 | 1 | 1
Module 6 -- Total Fixed Costs (All Equipment) |  | 3445.4167 | 3445.4167 | 3445.4167 | 3445.4167 | 3445.4167
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  | 560.7257 | 560.7257 | 560.7257 | 560.7257 | 560.7257
|  | Avg Fixed | 3445.4167 | Avg Annual |  | 560.7257
Total Fixed Costs (All Modules) |  | 18364.0354 | 18364.0354 | 18818.6854 | 17964.8185 | 18880.8835
Total Annualized Fixed Costs (All Modules) |  | 3434.7263 | 3434.7263 | 3554.0648 | 3443.9048 | 3587.7456
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  | Average Total Fixed Cost |  |  | 18478.4917
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  | Average Total Annualized Cost |  |  | 3491.0336
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## Model GDF 2
Estimated Equipment Costs for a Model GDF 2 Facility per Proposed Module
| Unit Cost | Number of Components in Model GDF
Proposed Module | 1999 Dollars | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I)
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 178 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Module 1 -- Total Fixed Cost (All Equipment) |  | 2822.5 | 2822.5 | 2822.5 | 2822.5 | 2822.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  | 579.757 | 579.757 | 579.757 | 579.757 | 579.757
|  | Avg Fixed | 2822.5 | Avg Annual |  | 579.757
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 | 3.25 | 3.25
Nozzle -- Hybrid | 231.25 |  |  | 3.25
Nozzle -- Assist Type 1 | 208.83 |  |  |  | 3.25
Nozzle -- Assist Type 2 | 224.78 |  |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Balance | 381.82 | 3.25 | 3.25
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 |  |  |  |  | 3.25
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  | 1
Assist Type 2 | 9000 |  |  |  |  | 1
Vapor processor
for those Balance systems that use processors | 7500 | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 3.25 | 3.25
Nozzle -- Hybrid | 107.56 |  |  | 3.25
Nozzle -- Assist Type 1 | 48.4 |  |  |  | 3.25
Nozzle -- Assist Type 2 | 53.78 |  |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 3.25 | 3.25
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 |  |  |  | 3.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 |  |  |  |  | 3.25
Auxilliary Items -- Assist Type 1 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  | 11735.805 | 11735.805 | 12326.85 | 11456.735 | 12262.1525
Module 2 -- Total Fixed Cost (TFC Nozzles) |  | 929.63 | 929.63 | 1101.1325 | 835.9975 | 905.32
Module 2 -- Total Fixed Cost (TFC Dispensers) |  | 1800.175 | 1800.175 | 2219.7175 | 1614.9575 | 1066.1625
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  | 373.818 | 373.818 | 442.7817 | 336.167 | 364.0426
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  | 369.7658 | 369.7658 | 455.9422 | 331.7212 | 218.9956
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  | 2209.2689 | 2209.2689 | 2364.4089 | 2133.5373 | 2257.7974
|  | Avg Fixed | 11903.4695 | Avg Annual |  | 2234.8563
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  | 3.25 | 3.25
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 | 3 | 3 | 3
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  | 3.25 | 3.25
Dispenser sensor & related electronics | 160 | 3 | 3 | 3
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 1080 | 1080 | 1080 | 696.1541 | 696.1541
Module 3 -- Total Fixed Costs (Nozzles) |  | 0 | 0 | 0 | 696.1541 | 696.1541
Module 3 -- Total Fixed Costs (Dispensers) |  | 1080 | 1080 | 1080 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  | 0 | 0 | 0 | 279.9339 | 279.9339
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  | 221.8379 | 221.8379 | 221.8379 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  | 221.8379 | 221.8379 | 221.8379 | 279.9339 | 279.9339
|  | Avg Fixed | 926.4616 | Avg Annual |  | 245.0763
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 175.6747 | 175.6747 | 175.6747 | 175.6747 | 175.6747
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  | 70.6414 | 70.6414 | 70.6414 | 70.6414 | 70.6414
|  | Avg Fixed | 175.6747 | Avg Annual |  | 70.6414
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 3.25 | 3.25 | 3.25 | 3.25 | 3.25
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  | 175.6747 | 175.6747 | 175.6747 | 175.6747 | 175.6747
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  | 70.6414 | 70.6414 | 70.6414 | 70.6414 | 70.6414
|  | Avg Fixed | 175.6747 | Avg Annual |  | 70.6414
Module 6 (In-Station Diagnostics)
Components
Sensors -- Pressure | 191.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Sensors -- A/L | 245 | 3 | 3 | 3 | 3 | 3
Datalogger w/EPROM & new CPU/motherboard | 1196.6667 | 1 | 1 | 1 | 1 | 1
Installation Costs
Assumed 2 person-days/dispenser for ISD installation | 1280 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
Module 6 -- Total Fixed Costs (All Equipment) |  | 4330.4167 | 4330.4167 | 4330.4167 | 4330.4167 | 4330.4167
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  | 704.7554 | 704.7554 | 704.7554 | 704.7554 | 704.7554
|  | Avg Fixed | 4330.4167 | Avg Annual |  | 704.7554
Total Fixed Costs (All Modules) |  | 20320.071 | 20320.071 | 20911.116 | 19657.1551 | 20462.5726
Total Annualized Fixed Costs (All Modules) |  | 3856.902 | 3856.902 | 4012.042 | 3839.2664 | 3963.5264
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  | Average Total Fixed Cost |  |  | 20334.1972
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  | Average Total Annualized Cost |  |  | 3905.7277
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## Model GDF 3
Estimated Equipment Costs for a Model GDF 3 Facility per Proposed Module
| Unit Cost | Number of Components in Model GDF
Proposed Module | 1999 Dollars | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I)
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 178 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Module 1 -- Total Fixed Cost (All Equipment) |  | 2822.5 | 2822.5 | 2822.5 | 2822.5 | 2822.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  | 579.757 | 579.757 | 579.757 | 579.757 | 579.757
|  | Avg Fixed | 2822.5 | Avg Annual |  | 579.757
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 | 6.5 | 6.5
Nozzle -- Hybrid | 231.25 |  |  | 6.5
Nozzle -- Assist Type 1 | 208.83 |  |  |  | 6.5
Nozzle -- Assist Type 2 | 224.78 |  |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Balance | 381.82 | 6.5 | 6.5
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 |  |  |  |  | 6.5
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  | 1
Assist Type 2 | 9000 |  |  |  |  | 1
Vapor processor
for those Balance systems that use processors | 7500 | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 6.5 | 6.5
Nozzle -- Hybrid | 107.56 |  |  | 6.5
Nozzle -- Assist Type 1 | 48.4 |  |  |  | 6.5
Nozzle -- Assist Type 2 | 53.78 |  |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 6.5 | 6.5
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 |  |  |  | 6.5
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 |  |  |  |  | 6.5
Auxilliary Items -- Assist Type 1 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  | 14465.61 | 14465.61 | 15647.7 | 13907.69 | 14233.635
Module 2 -- Total Fixed Cost (TFC Nozzles) |  | 1859.26 | 1859.26 | 2202.265 | 1671.995 | 1810.64
Module 2 -- Total Fixed Cost (TFC Dispensers) |  | 3600.35 | 3600.35 | 4439.435 | 3229.915 | 2132.325
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  | 747.636 | 747.636 | 885.5634 | 672.3339 | 728.0851
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  | 739.5317 | 739.5317 | 911.8844 | 663.4423 | 437.9913
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  | 2952.8527 | 2952.8527 | 3263.1327 | 2801.4255 | 2840.8356
|  | Avg Fixed | 14544.049 | Avg Annual |  | 2962.2198
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  | 6.5 | 6.5
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 | 6 | 6 | 6
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  | 6.5 | 6.5
Dispenser sensor & related electronics | 160 | 6 | 6 | 6
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 2160 | 2160 | 2160 | 1392.3081 | 1392.3081
Module 3 -- Total Fixed Costs (Nozzles) |  | 0 | 0 | 0 | 1392.3081 | 1392.3081
Module 3 -- Total Fixed Costs (Dispensers) |  | 2160 | 2160 | 2160 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  | 0 | 0 | 0 | 559.8677 | 559.8677
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  | 443.6759 | 443.6759 | 443.6759 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  | 443.6759 | 443.6759 | 443.6759 | 559.8677 | 559.8677
|  | Avg Fixed | 1852.9232 | Avg Annual |  | 490.1526
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 351.3494 | 351.3494 | 351.3494 | 351.3494 | 351.3494
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  | 141.2828 | 141.2828 | 141.2828 | 141.2828 | 141.2828
|  | Avg Fixed | 351.3494 | Avg Annual |  | 141.2828
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  | 351.3494 | 351.3494 | 351.3494 | 351.3494 | 351.3494
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  | 141.2828 | 141.2828 | 141.2828 | 141.2828 | 141.2828
|  | Avg Fixed | 351.3494 | Avg Annual |  | 141.2828
Module 6 (In-Station Diagnostics)
Components
Sensors -- Pressure | 191.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Sensors -- A/L | 245 | 6 | 6 | 6 | 6 | 6
Datalogger w/EPROM & new CPU/motherboard | 1196.6667 | 1 | 1 | 1 | 1 | 1
Installation Costs
Assumed 2 person-days/dispenser for ISD installation | 1280 | 3 | 3 | 3 | 3 | 3
Module 6 -- Total Fixed Costs (All Equipment) |  | 6985.4167 | 6985.4167 | 6985.4167 | 6985.4167 | 6985.4167
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  | 1136.8444 | 1136.8444 | 1136.8444 | 1136.8444 | 1136.8444
|  | Avg Fixed | 6985.4167 | Avg Annual |  | 1136.8444
Total Fixed Costs (All Modules) |  | 27136.2254 | 27136.2254 | 28318.3154 | 25810.6135 | 26136.5585
Total Annualized Fixed Costs (All Modules) |  | 5395.6956 | 5395.6956 | 5705.9756 | 5360.4602 | 5399.8703
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  | Average Total Fixed Cost |  |  | 26907.5877
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  | Average Total Annualized Cost |  |  | 5451.5394
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## Model GDF 4
Estimated Equipment Costs for a Model GDF 4 Facility per Proposed Module
| Unit Cost | Number of Components in Model GDF
Proposed Module | 1999 Dollars | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I)
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 178 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Module 1 -- Total Fixed Cost (All Equipment) |  | 2822.5 | 2822.5 | 2822.5 | 2822.5 | 2822.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  | 579.757 | 579.757 | 579.757 | 579.757 | 579.757
|  | Avg Fixed | 2822.5 | Avg Annual |  | 579.757
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 | 9.75 | 9.75
Nozzle -- Hybrid | 231.25 |  |  | 9.75
Nozzle -- Assist Type 1 | 208.83 |  |  |  | 9.75
Nozzle -- Assist Type 2 | 224.78 |  |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Balance | 381.82 | 9.75 | 9.75
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 |  |  |  |  | 9.75
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  | 1
Assist Type 2 | 9000 |  |  |  |  | 1
Vapor processor
for those Balance systems that use processors | 7500 | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 9.75 | 9.75
Nozzle -- Hybrid | 107.56 |  |  | 9.75
Nozzle -- Assist Type 1 | 48.4 |  |  |  | 9.75
Nozzle -- Assist Type 2 | 53.78 |  |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 9.75 | 9.75
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 |  |  |  | 9.75
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 |  |  |  |  | 9.75
Auxilliary Items -- Assist Type 1 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  | 17195.415 | 17195.415 | 18968.55 | 16358.645 | 16205.1175
Module 2 -- Total Fixed Cost (TFC Nozzles) |  | 2788.89 | 2788.89 | 3303.3975 | 2507.9925 | 2715.96
Module 2 -- Total Fixed Cost (TFC Dispensers) |  | 5400.525 | 5400.525 | 6659.1525 | 4844.8725 | 3198.4875
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  | 1121.454 | 1121.454 | 1328.345 | 1008.5009 | 1092.1277
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  | 1109.2975 | 1109.2975 | 1367.8265 | 995.1635 | 656.9869
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  | 3696.4365 | 3696.4365 | 4161.8566 | 3469.3136 | 3423.8738
|  | Avg Fixed | 17184.6285 | Avg Annual |  | 3689.5834
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  | 9.75 | 9.75
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 | 9 | 9 | 9
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  | 9.75 | 9.75
Dispenser sensor & related electronics | 160 | 9 | 9 | 9
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 3240 | 3240 | 3240 | 2088.4622 | 2088.4622
Module 3 -- Total Fixed Costs (Nozzles) |  | 0 | 0 | 0 | 2088.4622 | 2088.4622
Module 3 -- Total Fixed Costs (Dispensers) |  | 3240 | 3240 | 3240 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  | 0 | 0 | 0 | 839.8016 | 839.8016
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  | 665.5138 | 665.5138 | 665.5138 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  | 665.5138 | 665.5138 | 665.5138 | 839.8016 | 839.8016
|  | Avg Fixed | 2779.3849 | Avg Annual |  | 735.2289
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 9.75 | 9.75 | 9.75 | 9.75 | 9.75
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 527.0241 | 527.0241 | 527.0241 | 527.0241 | 527.0241
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  | 211.9242 | 211.9242 | 211.9242 | 211.9242 | 211.9242
|  | Avg Fixed | 527.0241 | Avg Annual |  | 211.9242
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 9.75 | 9.75 | 9.75 | 9.75 | 9.75
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  | 527.0241 | 527.0241 | 527.0241 | 527.0241 | 527.0241
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  | 211.9242 | 211.9242 | 211.9242 | 211.9242 | 211.9242
|  | Avg Fixed | 527.0241 | Avg Annual |  | 211.9242
Module 6 (In-Station Diagnostics)
Components
Sensors -- Pressure | 191.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Sensors -- A/L | 245 | 9 | 9 | 9 | 9 | 9
Datalogger w/EPROM & new CPU/motherboard | 1196.6667 | 1 | 1 | 1 | 1 | 1
Installation Costs
Assumed 2 person-days/dispenser for ISD installation | 1280 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Module 6 -- Total Fixed Costs (All Equipment) |  | 9640.4167 | 9640.4167 | 9640.4167 | 9640.4167 | 9640.4167
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  | 1568.9334 | 1568.9334 | 1568.9334 | 1568.9334 | 1568.9334
|  | Avg Fixed | 9640.4167 | Avg Annual |  | 1568.9334
Total Fixed Costs (All Modules) |  | 33952.3798 | 33952.3798 | 35725.5148 | 31964.072 | 31810.5445
Total Annualized Fixed Costs (All Modules) |  | 6934.4891 | 6934.4891 | 7399.9092 | 6881.6539 | 6836.2142
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  | Average Total Fixed Cost |  |  | 33480.9782
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  | Average Total Annualized Cost |  |  | 6997.3511
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## Model GDF 5
Estimated Equipment Costs for a Model GDF 5 Facility per Proposed Module
| Unit Cost | Number of Components in Model GDF
Proposed Module | 1999 Dollars | Bal-1 | Bal-2 | Hybrid | Assist-1 | Assist-2
Module 1 (Phase I)
Phase I Components
Pressure/Vacuum (P/V) valve | 65 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 351 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 178 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 55 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Installation Costs
Pressure/Vacuum (P/V) Valve | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Low-emission spill containment and cover | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Drop tube & overfill protection | 160 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Rotatable adaptor | 80 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Module 1 -- Total Fixed Cost (All Equipment) |  | 2822.5 | 2822.5 | 2822.5 | 2822.5 | 2822.5
Module 1 -- Total Annualized Cost = Total Fixed Cost x CRF2 |  | 579.757 | 579.757 | 579.757 | 579.757 | 579.757
|  | Avg Fixed | 2822.5 | Avg Annual |  | 579.757
Module 2 (Phase II w/pressure-related fugitives)
Dispenser Components
Nozzle -- Balance | 200 | 16.25 | 16.25
Nozzle -- Hybrid | 231.25 |  |  | 16.25
Nozzle -- Assist Type 1 | 208.83 |  |  |  | 16.25
Nozzle -- Assist Type 2 | 224.78 |  |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Balance | 381.82 | 16.25 | 16.25
Modified Equipment (Dispenser-related) -- Hybrid | 467.87 |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 400.11 |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 220.49 |  |  |  |  | 16.25
Auxilliary Items (incl. P/V, collection & processor)
Assist Type 1 | 7500 |  |  |  | 1
Assist Type 2 | 9000 |  |  |  |  | 1
Vapor processor
for those Balance systems that use processors | 7500 | 1 | 1 | 1
Installation Costs
Nozzle -- Balance | 86.04 | 16.25 | 16.25
Nozzle -- Hybrid | 107.56 |  |  | 16.25
Nozzle -- Assist Type 1 | 48.4 |  |  |  | 16.25
Nozzle -- Assist Type 2 | 53.78 |  |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Balance | 172.08 | 16.25 | 16.25
Modified Equipment (Dispenser-related) -- Hybrid | 215.12 |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 1 | 96.8 |  |  |  | 16.25
Modified Equipment (Dispenser-related) -- Assist Type 2 | 107.56 |  |  |  |  | 16.25
Auxilliary Items -- Assist Type 1 | 1505.78 |  |  |  | 1
Auxilliary Items -- Assist Type 2 | 1290.67 |  |  |  |  | 1
Vapor processor -- Balance | 1506 | 1 | 1 | 1
Module 2 -- Total Fixed Cost (All Equipment) |  | 22655.025 | 22655.025 | 25610.25 | 21260.555 | 20148.0825
Module 2 -- Total Fixed Cost (TFC Nozzles) |  | 4648.15 | 4648.15 | 5505.6625 | 4179.9875 | 4526.6
Module 2 -- Total Fixed Cost (TFC Dispensers) |  | 9000.875 | 9000.875 | 11098.5875 | 8074.7875 | 5330.8125
Module 2 -- Total Fixed Cost (TFC All Other Equipment) |  | 9006 | 9006 | 9006 | 9005.78 | 10290.67
Module 2 -- Annualized Cost = Fixed Costs (TFC Nozzles) x CRF3 |  | 1869.0899 | 1869.0899 | 2213.9084 | 1680.8349 | 1820.2129
Module 2 -- Annualized Cost = Fixed Costs (TFC Dispensers) x CRF2 |  | 1848.8292 | 1848.8292 | 2279.7109 | 1658.6058 | 1094.9782
Module 2 -- Annualized Cost = Fixed Cost (TFC All Others) x CRF1 |  | 1465.685 | 1465.685 | 1465.685 | 1465.6492 | 1674.7592
Module 2 -- Total Annualized Costs (All Equipment) |  | 5183.6042 | 5183.6042 | 5959.3043 | 4805.0898 | 4589.9502
|  | Avg Fixed | 22465.7875 | Avg Annual |  | 5144.3106
Module 3 (ORVR Compatibility)
Components
Nozzle (Healy ORVR compatible drop-in assist nozzle) | 54.2013 |  |  |  | 16.25 | 16.25
Assumed 25% premium over Module 2-compliant
nozzle (applies to assist only)
Dispenser sensor & related electronics | 200 | 12 | 12 | 12
(Hoffer Flow Control)
Installation Costs
Nozzle (Healy ORVR compatible drop-in assist nozzle)* | 160 |  |  |  | 16.25 | 16.25
Dispenser sensor & related electronics | 160 | 12 | 12 | 12
Module 3 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 4320 | 4320 | 4320 | 3480.7703 | 3480.7703
Module 3 -- Total Fixed Costs (Nozzles) |  | 0 | 0 | 0 | 3480.7703 | 3480.7703
Module 3 -- Total Fixed Costs (Dispensers) |  | 4320 | 4320 | 4320 | 0 | 0
Module 3 -- Annualized Costs = Fixed Costs (Nozzles) x CRF3 |  | 0 | 0 | 0 | 1399.6693 | 1399.6693
Module 3 -- Annualized Costs = Fixed Costs (Dispensers) x CRF2 |  | 887.3518 | 887.3518 | 887.3518 | 0 | 0
Module 3 -- Total Annualized Costs (All Equipment) |  | 887.3518 | 887.3518 | 887.3518 | 1399.6693 | 1399.6693
|  | Avg Fixed | 3984.3081 | Avg Annual |  | 1092.2788
Module 4 (Liquid Retention -- Redesigned Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 16.25 | 16.25 | 16.25 | 16.25 | 16.25
nozzle; in-nozzle design only; no extra installation
Module 4 -- Total Fixed Costs (Equipment Purchase + Installation) |  | 878.3734 | 878.3734 | 878.3734 | 878.3734 | 878.3734
Module 4 -- Annualized Costs = Fixed Costs x CRF3 |  | 353.207 | 353.207 | 353.207 | 353.207 | 353.207
|  | Avg Fixed | 878.3734 | Avg Annual |  | 353.207
Module 5 (Spillage, including Dripless Nozzle)
Assumed 25% premium over Module 2-compliant | 54.0538 | 16.25 | 16.25 | 16.25 | 16.25 | 16.25
nozzle; in-nozzle design only; no extra installation
Module 5 -- Total Fixed Costs (All Equipment) |  | 878.3734 | 878.3734 | 878.3734 | 878.3734 | 878.3734
Module 5 -- Annualized Costs = Fixed Costs x CRF3 |  | 353.207 | 353.207 | 353.207 | 353.207 | 353.207
|  | Avg Fixed | 878.3734 | Avg Annual |  | 353.207
Module 6 (In-Station Diagnostics)
Components
Sensors -- Pressure | 191.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Sensors -- A/L | 245 | 12 | 12 | 12 | 12 | 12
Datalogger w/EPROM & new CPU/motherboard | 1196.6667 | 1 | 1 | 1 | 1 | 1
Installation Costs
Assumed 2 person-days/dispenser for ISD installation | 1280 | 6 | 6 | 6 | 6 | 6
Module 6 -- Total Fixed Costs (All Equipment) |  | 12295.4167 | 12295.4167 | 12295.4167 | 12295.4167 | 12295.4167
Module 6 -- Annualized Costs = Total Fixed Costs x CRF1 |  | 2001.0224 | 2001.0224 | 2001.0224 | 2001.0224 | 2001.0224
|  | Avg Fixed | 12295.4167 | Avg Annual |  | 2001.0224
Total Fixed Costs (All Modules) |  | 43849.6885 | 43849.6885 | 46804.9135 | 41615.9889 | 40503.5164
Total Annualized Fixed Costs (All Modules) |  | 9358.1493 | 9358.1493 | 10133.8495 | 9491.9525 | 9276.8129
Notes
Cost Recovery Factor CRF1 (10% discount, 10 yr. life) -- All Others | 0.16275 |  | Average Total Fixed Cost |  |  | 43324.7592
Cost Recovery Factor CRF2 (10% discount, 7 yr. life) -- Dispensers | 0.20541 |  | Average Total Annualized Cost |  |  | 9523.7827
Cost Recovery Factor CRF3 (10% discount, 3 yr. life) -- Nozzles | 0.40211
* from Healy Systems, 1999.

## RD Costs
Research & Development Costs for All Proposed Modules
Source | Unit Cost or Value
Staff Costs
Phase I systems
Engineering
Assumed number of full-time engineers needed per certification | 1
Annual cost per engineer (salary + benefits) | 100000
Number of years required per certification | 1
Non-engineering
Support staff needed per certfication (assume 1 support per 2 engineers) | 0.5
Annual cost per support staff (salary + benefits; assume 50% of engineer cost) | 50000
Number of years required per certification | 1
Total R&D Staff Costs per Phase I certification | 125000
Phase II & ISD systems
Engineering
Assumed number of full-time engineers needed per certification | 2
Annual cost per engineer (salary + benefits) | 100000
Number of years required per certification | 2
Non-engineering
Support staff needed per certfication (assume 1 support per 2 engineers) | 1
Annual cost per support staff (salary + benefits; assume 50% of engineer cost) | 50000
Number of years required per certification | 2
Total R&D Staff Costs per Phase II and ISD Certification | 500000
Component & Systems Development Costs (CSDC) per Certification
Design, prototype development, & commercialization cost per certification | 50000
(assume 10% of total staff costs)
Miscellaneous Costs
Marketing costs per certification (assumed 25% of CSDC) | 12500
Total number of Phase II recertifications (as of 01/01/2000) | 64
ISD systems to be developed & certified (assume 25% of total Ph II recertifications) | 16
Total number of Phase I recertifications (as of 01/01/2000) | 14
Total Research & Development Costs | 47625000
Annualized R&D Costs (CRF @ 10% discount rate, 5 yrs) | 12563355.0228

## CertTesting Costs
Certification and Testing Costs for All Proposed Modules
Source | Unit Cost or Value
ARB Certification Fees
Typical current ARB fees per Phase II certification | 10000
Typical current ARB fees per Phase I certification | 2000
Multiplier for increase in test period (to 6 mos) & test matrix (to 200 cars) | 5
Total number of recertifications
Phase II | 64
Phase I | 14
Est. number of ISD certifications | 16
Total ARB Certification Fees (assume fee for ISD same as for Phase II) | 4140000
Manufacturers' Certification Fees
Typical current Phase II cost per certification (site preparation, testing) | 170000
Typical current Phase I cost per certification (assume 20% of Phase II) | 34000
Multiplier for increase in test period (to 6 mos) & test matrix (to 200 cars) | 2
Total number of Phase II recertifications | 64
Est. number of new certifications (i.e., ISD systems or components) | 16
Total number of Phase I recertifications | 14
Total Manufacturers' Phase I, Phase II, & ISD Certification Costs | 28152000
Total Certification (ARB + Manufacturers) Costs (over 4 years) | 32292000
Annualized Certification Costs (CRF @ 10% discount rate, 4 yrs) | 8518548.2498
Notes:
(1) 4 yr annualization period for cost recovery factor (CRF) reflects proposed 4-yr cert. lifetimes
(2) $170,000 typical manuf. certification costs includes $75,000 on-site + $75,000 internal
engineering and lab costs to prepare for field certification + $20,000 for pressure monitoring.
(3) Typical ARB certification fees taken from most recent ARB invoices for Phase I/II testing.

## GDF Distribution
GDF Population Distribution
National GDF Distribution in 1991 |  |  | Est. California Distribution in 1998
|  | Percent |  |  | Percent
Gal/mo |  | of GDFs | Gal/mo |  | of GDFs
3000 |  | 3.8% | 3000 |  | 0.76%
8000 |  | 4.8% | 8000 |  | 0.96%
17500 |  | 15% | 17500 |  | 3%
37500 |  | 23.5% | 37500 |  | 14.1%
75000 |  | 32.3% | 75000 |  | 45.65%
150000 |  | 18.2% | 150000 |  | 31.3%
300000 |  | 2.4% | 300000 |  | 4.224%
PWA (1991) = | 70660.5 | gal/mo | PWA (1998) = | 99779.1 | gal/mo
Source: EPA, 1991 |  |  | Source: Staff adjustment of EPA, 1991
PWA = population-wtd average |  |  | distribution to fit current average
(pop-wtd avg = 99865)

## Ref and Notes
Ref. | Source
1 | "1999 State of the Industry Report," National Assoc. of Convience Stores,
<http://www.cstorecentral.com/register/resource/resource/99soihighlights.html,
visited on 01/03/00.
| Notes: | (a) | 1998 average motor fuel sold per store = 95,100 gals/month
|  | (b) | Because of 1998's low fuel prices, the average margin cents per gallon
dropped to 12.6 cents compared to 1997's 13.4 cents.
2 | "EBW Vapor Recovery Equipment Price List,"
price list spreadsheet from EBW Web site, <http://www.ebw.com/pricelst>, visited on 01/03/00.
| Notes: | (a) | breakaways (avg = $32.50 each)
|  | (b) | drop tubes (avg = $111 each, CARB approved)
|  | (c) | P/V valves (avg = $65 each, CARB approved)
|  | (d) | EPROM + main CPU board (avg = $725 each)
|  | (e) | spill containment "bucket" with drain (avg = $482 each)
3 | "Model 800 Intelligent ORVR Nozzle," Powerpoint presentation by Healy Systems,
<http://www.healysystems.com/NozzlesandHoses/NozzlesandHoses.ppt>, visited on 01/03/00.
| Notes: | (a) | "No excavation of downtime loss with Healy," Slide 14.
|  | (b) | "No additional installation costs," Slide 14.
|  | (c) | "Retrofit product: approximate installation time takes 2 workers one day per
4 multi-product dispenser station," Slide 14.
4 | "Healy ORVR System," <http://www.healysystems.com/orvr1.htm>, visited on 01/13/00.
| Notes: | (a) | "...Healy Model 800 Nozzle converts your vacuum assist dispensers to ORVR
with no added below-ground systems and no new electronics."
|  | (b) | "...Healy Systems gives you the whole package in the nozzle."