Pamela,

I am writing you regarding the Stationary Refrigerant Management Program and its potential

impact at Edwards Air Force Base and the Air Force. Per our telephone conversation last

week, I wanted to clarify the Air Force's concerns regarding the definition of "stationary source"

as published in your most recent draft version of the regulation (23 Oct 2009).

As currently written, the definition of "Stationary" is as follows:

(65) "Stationary" means meeting at least one of the following conditions:

(A) Is installed in a building, structure, or facility.

(B) Is attached to a foundation, or if not so attached, will reside at the same location for

more than 12 consecutive months.

(C) Is located at the same single location on a permanent basis (at least two

consecutive years) and that operates at that single location at three months each year.

Subsection (C) is of particular concern to the Air Force. As with the definition of "portable" as

indicated in the California Code of Regulations (CCR), Title 13, Section 2452(cc), the Air Force

has a concern with the definition of "Stationary" in the proposed regulation (CCR Title 17,

Section 95382(65), in that the words "single location" can be construed to mean our entire

flight line as there is no definition for "location" in the proposed Stationary Refrigerant

Management Program regulations. In the PERP rule for off-road mobile sources, "Location"

means any single site at a building, structure, facility, or installation. As with most flight line

operations, tactical support equipment (TSE), including cooling and air-conditioning carts

support critical mission support functions and though such TSE would meet the definition of

portability as defined in the PERP rule, it can at the same time be construed to meet the

definition of "stationary" (as stated above) as the TSE moves around the flight line but is used

there (flight line) continually but for varying support functions.

Currently, the EAFB TSE is regulated under CCR, Title 13, Sections 2450-2465 as off-road

mobile sources. There is a strong potential that the same TSE equipment could be subject to

regulation as "stationary" sources under the proposed Stationary Refrigerant Management

Program (CCR, Title 17, Sections 9538-95398). We do not believe it is the intent of CARB to

regulate the same equipment as both a mobile and a stationary source. Therefore, we suggest

that TSE be exempted from this regulation.

I also understand that Mr. Randal Friedman from the DoD REC office has discussed this

situation with ARB staff and indicated their concern with the inclusion of TSE within this

regulation. I have copied him on this e-mail and discussed this submittal and it is consistent

with their position.

So as to maintain consistency with other regulation we further suggest a clarification to the

definition of 'stationary' in the proposed regulation so as to conform to the definition of

portability.

Respectfully,

Marc G. Minneci, YD-02

Environmental Engineer

95 ABW/CEV - Edwards AFB

Office: 661.277.9065

DSN: 527.9065

Fax: 661.277.6145